Estimating Water Usage on Michigan Dairy Farms (100 head)

Dr. Craig V. Thomas

Michigan State University Extension

Water usage on dairy farms can be divided into two general categories:  1) direct usage by dairy animals, and 2) indirect usage required for the general operation of the dairy facility.  Direct water usage involves drinking water for dairy animals (cows, heifers, calves).

The level of direct water usage is determined by such factors as:  (See reference 2 )

- level of milk production (for cows in milk),

- body weight,

- level of feed intake (dry matter basis),

- percentage of the diet dry matter,

- level of sodium intake

- air temperature

Table 1 shows typical water intake for various classes of dairy animals.

TABLE 1.  Direct usage of water by dairy animals (1).

| Animals | Water Usage (gal/hd/d)1 |
| --- | --- |
| Calves | 6-10 |
| Heifers | 10-15 |
| Dry Cows | 20-30 |
| Milking Cows | 35-50 |

1During periods of heat stress (hot weather) drinking water

intake can easily double.

Indirect usage of water on dairy farms falls into one, or more, of the following categories:

- milking system clean-up

- milking parlor clean-up and if used, milking parlor flushing

- milk bulk tank clean-up

- prepping cows for milking

- milk pre-cooling

- miscellaneous (e.g., milk house usage, restroom usage, etc.)(1).

Table 2 shows typical amounts of water used for indirect purposes.

TABLE 2.  Indirect usage of water on dairy farms (1).

| Operation | Water Volume |
| --- | --- |
| Milking system clean-up | 75-125 gal/wash |
| Parlor clean-up | 800-1,200 gal/milking |
| Milk bulk tank clean-up | 50-60 gal/wash |
| Prepping cows for milking | 0.25-0.5 gal/cow/milking |
| Milk pre-cooling | 2 gal/gal of milk cooled |
| Miscellaneous | 10+ gal/d |

Table 3 shows an example of the estimated direct daily water usage for a 100 cow dairy farm raising their own heifers.

TABLE 3.  Estimated direct daily water usage for a 100 cow dairy raising its own heifers (see reference 1).

| Animals | No. of Hd | Lower Limit of Usage (gal/hd/d) | Upper Limit of Usage (gal/hd/d) | Lower Limit of Total Usage (gal/d) | Upper Limit of Total Usage (gal/d) |
| --- | --- | --- | --- | --- | --- |
| Calves (weaned) | 12 | 6 | 10 | 72 | 120 |
| Heifers (6-8 mo) | 12 | 10 | 15 | 120 | 180 |
| Heifers (9-12 mo) | 18 | 10 | 15 | 180 | 270 |
| Heifers (13-15 mo) | 12 | 10 | 15 | 120 | 180 |
| Heifers (16-24 mo) | 38 | 15 | 20 | 570 | 760 |
| Dry Cows | 15 | 20 | 30 | 300 | 450 |
| Milking Cows | 85 | 35 | 50 | 2,975 | 4,250 |
|  |  |  | Total | 4,337 | 6,210 |

Table 4 shows an example of the estimated indirect daily water usage by a 100 cow dairy farm.

TABLE 4.  Estimated indirect daily water usage for a 100 cow dairy (see reference 1).

| Operation | Lower Limit of Usage | Upper Limit of Usage | Lower Limit of Total Usage | Upper Limit of Total Usage |
| --- | --- | --- | --- | --- |
| Milking system clean-up1 | 75 gal/milking | 125 gal/milking | 150 | 250 |
| Milking parlor clean-up and flushing1 | 400 gal/milking | 600 gal/milking | 800 | 1,200 |
| Milk bulk tank clean-up2 | 50 gal/wash | 60 gal/wash | 25 | 30 |
| Cow prepping for milking1 | 0.25 gal/cow/milking | 0.5 gal/cow/milking | 43 | 85 |
| Milk pre-cooling3 | 2 gal/gal of milk | 2 gal/gal of milk | 3,265 | 3,265 |
| Miscellaneous | 10+ gal/d | 100+ gal/d | 10 | 100 |
|  |  | Total | 4,293 | 4,930 |

1Assumes two time per day milking.

2Based on 80 lbs/cow/d milk production that would require the cleaning of a 3,600 gallon bulk

tank every other day.

3Assumes 80 lbs/cow/d milk production.

4This water could be recycled for other uses (e.g., drinking water for dairy animals).

Tables 5 and 6 show the estimated water usage for hypothetical 100 cow dairy farms.

TABLE 5.  Estimated total daily water usage for a 100 cow dairy farm not recycling milk pre-cooling water (see reference 1).

|  | Raise Heifers |  | Do Not Raise Heifers |
| --- | --- | --- | --- |
| Usage | Lower Limit of Total Daily Usage | Upper Limit of Total Daily Usage |  | Lower Limit of Total Daily Usage | Upper Limit of Total Daily Usage |
| Direct | 4,337 | 6,210 |  | 3,275 | 4,700 |
| Indirect1,2,3 | 4,293 | 4,930 |  | 4,293 | 4,930 |
| Total | 8,630 | 11,140 |  | 7,568 | 9,630 |

1Assumes two time per day milking.

2Based on 80 lbs/cow/d milk production that would require the cleaning of a 3,600 gallon bulk

tank every other day.

3Assumes 80 lbs/cow/d milk production.

TABLE 6.  Estimated total daily water usage for a 100 cow dairy farm that recycles milk pre-cooling water (see reference 1).

|  | Raise Heifers |  | Do Not Raise Heifers |
| --- | --- | --- | --- |
| Usage | Lower Limit of Total Daily Usage | Upper Limit of Total Daily Usage |  | Lower Limit of Total Daily Usage | Upper Limit of Total Daily Usage |
| Direct | 4,337 | 6,210 |  | 3,275 | 4,700 |
| Indirect1,2,3 | 1,028 | 1,665 |  | 1,028 | 1,665 |
| Total | 5,365 | 7,875 |  | 4,303 | 6,365 |

1Assumes three time per day milking.

2Based on 80 lbs/cow/d milk production that would require the cleaning of a 3,600 gallon bulk tank

1.5 times per day.

3Assumes 80 lbs/cow/d milk production.

### Worksheet:  Below is a worksheet to estimate total water usage per day on your dairy farm.  For each water usage item replace with actual numbers measured on your farm, if available.

I.  Direct Usage:

1.  Calves (weaned):  						 (no. head) X 8 gal/hd 						= 				 gal.

2.  Heifers (6-8 mo):  						 (no. head) X 12.5 gal/hd 						= 				 gal

3.  Heifers (9-12 mo.):  					 (no. head) X 12.5 gal/hd 						= 				 gal.

4.  Heifers (13-15 mo.):  					 (no. head) X 12.5 gal/hd 						= 				 gal.

5.  Heifers (16-24 mo.):  					 (no. head) X 17.5 gal/hd 						= 				 gal.

6.  Dry Cows:							 (no. head) X 25 gal/hd 						= 				 gal.

7.  Milking Cows: 						 (no. head) X 42.5 gal/hd						= 				 gal.

A.  Total Direct Usage (1+2+3+4+5+6+7)		 = 				 gal.

II.  Indirect Usage:

1.  Milking system clean-up: 			 (no. milkings) X 			 (gal. water/milking)		 = 				 gal.

2.  Milking parlor clean-up/flushing:  		 (no. milkings) X 			 (gal. water/milking) = 				 gal.

3.  Milk bulk tank clean-up:  			 (no. washings/day) X 		 (gal. water/washing) 	= 				 gal.

4.  Cow prepping for milking:  			 (no. cows) X 		 (no. milkings/d) X 			 (gal. water/cow)

= 				 gal.

5.  Milk pre-cooling::  		 (total lbs. milk/d) X 0.12 X 		 (gal. water/gal. milk) 		= 				 gal.

6.  Miscellaneous:	 		 (gal. water/milking) X 		 (no. milkings) 				= 				 gal.

B.  Total Indirect Usage (1+2+3+4+5+6)		= 				 gal.

C.  Total Usage (A+B)						 = 				 gal.

### References

1  Midwest Plan Service (MWPS).  2000.  MWPS-7, Dairy Freestall Housing and Equipment, Chapter 10-Utilities.  Iowa State University, Ames Iowa, page 137.

### 2  National Research Council (NRC).  2001.  Nutrient Requirements of Dairy Cattle.  7th Ed., National Academy Press, Washington, D. C.